CPT CODE(S)	TEST NAME	MANUFACTURER	USE

81002	Dipstick or tablet reagent urinalysis – non-automated for bilirubin, glucose, hemoglobin, ketone, leukocytes, nitrite, pH, protein, specific gravity, and urobilinogen

Various	Screening of urine to monitor/diagnose various diseases/conditions, such as diabetes, the state of the kidney or urinary tract, and urinary tract infections

81025	Urine pregnancy tests by visual color comparison

Various	Diagnosis of pregnancy

82270

82272

(Contact your Medicare carrier for claims instructions.)

Fecal occult blood	Various	Detection of blood in feces from whatever cause, benign or malignant

(colorectal cancer screening)

82962	Blood glucose by glucose monitoring devices cleared by the FDA for home use

83026	Hemoglobin by copper sulfate – non- automated

84830	Ovulation tests by visual color comparison for human luteinizing hormone

Various	Monitoring of blood glucose levels

Various	Monitors hemoglobin level in blood

Various	Detection of ovulation (optimal for conception)

85013	Blood count; spun microhematocrit	Various	Screen for anemia

85651	Erythrocyte sedimentation rate – non- automated

Various	Nonspecific screening test for inflammatory activity, increased for majority of infections, and most cases of carcinoma and leukemia

This list includes updates from Change Request FFS9956

80047QW, 82330QW,

82374QW, 82435QW,

82565QW, 82947QW,

82950QW, 82951QW,

82952QW,

84132QW, 84295QW,

84520QW, 85014QW

Abbott i-STAT Chem8+ Cartridge

{Whole Blood}

i-STAT Corporation	Measures ionized calcium, carbon dioxide, chloride, creatinine, glucose,

potassium, sodium, urea nitrogen, and hematocrit in whole blood

80048QW	1.	Abaxis Piccolo Blood Chemistry Analyzer (Basic Metabolic Reagent Disc){Whole Blood}

Abaxis, Inc	Measures total calcium, carbon dioxide, chloride, creatinine, glucose, potassium,  sodium, and urea nitrogen in whole blood

2.	Abaxis Piccolo xpress Chemistry Analyzer (Basic Metabolic Reagent Disc){Whole Blood}

Abaxis, Inc

80051QW	1.    Abaxis Piccolo Blood Chemistry Analyzer (Electrolyte Metabolic Reagent Disc){Whole Blood}

2.	Abaxis Piccolo xpress Chemistry Analyzer (Electrolyte Metabolic Reagent Disc){Whole Blood}

80053QW	1.	Abaxis Piccolo Blood Chemistry Analyzer (Comprehensive Metabolic Reagent Disc){Whole Blood}

2.	Abaxis Piccolo xpress Chemistry Analyzer (Comprehensive Metabolic Reagent Disc){Whole Blood}

Abaxis, Inc.	Measures carbon dioxide, chloride, potassium, and sodium in whole blood

Abaxis, Inc.

Abaxis, Inc.	Measures alanine amino transferase, aspartate amino transferase, albumin,

total bilirubin, total calcium, carbon dioxide, chloride, creatinine, glucose, alkaline phosphatase, potassium, total protein, sodium, and urea nitrogen in whole blood

Abaxis, Inc.

80061QW, 82465QW

(Contact your Medicare carrier for claims instructions.),

83718QW,

84478QW

80061QW, 82465QW

(Contact your Medicare carrier for claims instructions.),

82962,

83718QW,

84478QW

- Abaxis, Piccolo xpress Chemistry Analyzer {Lipid Panel Reagent Disc} (Whole Blood)

- Infopia USA LipidPro lipid profile and glucose measuring system (LipidPro Lipid Profile test strips)

- Jant Pharmacal Corp, LipidPlus Professional Lipid Profile and Glucose Measuring System (LipidPlus Lipid Profile test strips)

- Piccolo Point of Care Chemistry Analyzer (Lipid Panel Reagent Disc) (Whole Blood)

- Polymer Technology Systems CardioChek PA Analyzer {PTS Panels Lipid Panel Test Strips}

- Poylmer Technology Systems, Inc., CardioChek Home Test Systems (CardioChek Home Lipid Panel test strips)

- Poylmer Technology Systems, Inc., CardioChek Plus Test Systems (PTS Panels Lipid Panel test strips)

- Jant Pharmacal LipidPlus Lipid Profile and Glucose Measuring System

Abaxis, Incorporated	Measures total cholesterol, HDL cholesterol, and triglycerides in whole

blood

Infopia Co., Ltd.

Infopia Co., Ltd.

Abaxis, Incorporated

Polymer Technology Systems, Inc.

Polymer Technology Systems, Inc.

Polymer Technology Systems, Inc.

Infopia Co., Ltd.	Monitoring of blood glucose levels and measures total cholesterol, HDL

cholesterol, and triglycerides in whole blood

80061QW, 82465QW

(cont.)(Contact your Medicare carrier for claims instructions.),

82962,

83718QW,

84478QW

80061QW, 82465QW

(Contact your Medicare carrier for claims instructions.),

83718QW,

84460QW,

84478QW

- Jant Pharmacal Corp, LipidPlus Professional Lipid Profile and Glucose Measuring System

- Infopia USA LipidPro lipid profile and glucose measuring system

- Infopia USA LipidPro Professional Lipid Profile and Glucose Measuring System

Cholestech LDX (Lipid Profile – ALT (GPT)){Whole Blood}

Infopia Co., Ltd	Monitoring of blood glucose levels and measures total cholesterol, HDL

cholesterol, and triglycerides in whole blood

Infopia Co., Ltd.

Infopia Co., Ltd

Cholestech Corp.	Measures alanine aminotransferase, total cholesterol, HDL cholesterol, and

triglycerides in whole blood

80061QW, 82465QW

82465QW (Contact your Medicare carrier for claims instructions.), 82947QW, 82950QW,

82951QW, 82952QW,

83718QW, 84450QW,

84460QW, 84478QW

Alere Cholestech LDX {Whole Blood}	Alere, Inc.	Measures alanine aminotransferase, aspartate aminotransferase, total

cholesterol, HDL cholesterol, glucose, and triglycerides in whole blood

80069QW	1.	Abaxis Piccolo Blood Chemistry Analyzer (Piccolo Renal Function Panel){Whole Blood}

2.	Abaxis Piccolo xpress Chemistry Analyzer (Piccolo Renal Function Panel){Whole Blood}

Abaxis, Incorporated	Measures albumin, total calcium, total carbon dioxide, chloride, creatinine,

glucose, phosphorus, potassium, sodium and urea nitrogen in whole blood

Abaxis, Incorporated

80305QW (This test may not be covered in all instances. Contact your Medicare carrier for claims instructions.)

Drug test(s), presumptive, any number of drug classes; any number of devices or procedures, (e.g., immunoassay) capable of being read by direct optical observation only (e.g., dipsticks, cups, cards, cartridges) categorized as waived complexity. Refer to the FDA website http://www.accessdata.fda.gov/scripts/ cdrh/cfdocs/cfClia/analyteswaived.cfm for the currently waived test systems and analytes.

Various	Screening test for the presence/detection of any number of drug classes in urine

80178QW	ReliaLAB Inc. InstaRead Lithium System {fingerstick or venipuncture whole blood}

81003QW	Dipstick or tablet reagent urinalysis – automated for bilirubin, glucose, hemoglobin, ketone, leukocytes, nitrite, pH, protein, specific gravity, and urobilinogen categorized as waived complexity. Refer to the FDA website http://www.accessdata.fda.gov/scripts/ cdrh/cfdocs/cfClia/analyteswaived.cfm for the currently waived test systems.

Akers Laboratories, Inc.	Measures lithium blood levels in whole blood

Various	Screening of urine to monitor/diagnose various diseases/conditions, such as diabetes, the state of the kidney or urinary tract, and urinary tract infections

81003QW, 82044QW,

82570QW

81003QW, 82044QW,

82570QW,

84703QW

1.	Siemens Clinitek 50 Urine Chemistry Analyzer

- Siemens Clinitek Status Urine Chemistry Analyzer

- Siemens, Clinitek Status+ Analyzer

- Siemens, Clinitek Status Connect System

Siemens Healthcare Diagnostics Inc.

Siemens Healthcare Diagnostics

Siemens Healthcare Diagnostics

Siemens Healthcare Diagnostics

Screening of urine to monitor/diagnose various diseases/conditions, such as diabetes, the state of the kidney or urinary tract, and urinary tract infections; and the semi-quantitative measurement of albumin and creatinine in urine

Screening of urine to monitor/diagnose various diseases/conditions, such as diabetes, the state of the kidney or urinary tract, and urinary tract infections; the semi-quantitative measurement of albumin and creatinine in urine; and the diagnosis of pregnancy

81007QW	1.	Diatech Diagnostics Uriscreen (for OTC use)

Savyon/USA	Detects catalase in urine which is associated with urinary tract infections

(UTIs). White blood cells and some bacteria associated with UTIs are positive for catalase.

2.	Jant Pharmacal Corporation Accutest Uriscreen (Bacteriuria)

82010QW	PTS Bioscanner (for OTC use) - for blood ketones

Savyon Diagnostics Ltd

Polymer Technology Systems, Inc.

Measures ketones in whole blood

82010QW,

82962

82040QW, 82150QW,

82247QW, 82310QW,

82565QW, 82947QW,

82950QW, 82951QW,

82952QW,

82977QW, 84075QW,

84155 QW, 84450QW,

84460QW, 84520QW,

84550QW

- Abbott Laboratories, Medisense Products Precision Xtra Advanced Diabetes Management System (K983504)

- Abbott Medisense Precision Xtra Advanced Diabetes Management System (K040814)

- Nova Biomedical Nova Max Plus Glucose and B-Ketone Monitoring System

Abaxis Piccolo Blood Chemistry Analyzer (General Chemistry 13 Panel){Whole Blood}

Abbott Laboratories	Monitoring of blood glucose levels and measures ketones in whole blood

Abbott Laboratories

Nova Biomedical Corp.

Abaxis, Inc.	Quantitative measurement of alanine aminotransferase, albumin, alkaline

phosphatase, amylase, aspartate aminotransferase, calcium, creatinine, gamma glutamyltransferase, glucose, total bilirubin, total protein, urea nitrogen  and uric acid in whole blood

82040QW, 82150QW,

82247QW, 82310QW,

82565QW, 82947QW,

82950QW, 82951QW,

82952QW,

82977QW, 84075QW,

84155 QW, 84450QW,

84460QW, 84520QW,

84550QW

82040QW, 82150QW,

82247QW,

82977QW, 84075QW,

84155QW, 84450QW,

84460QW

82040QW, 82310QW,

82565QW, 82947QW,

82950QW, 82951QW,

82952QW, 84520QW

Abaxis Piccolo xpress Chemistry Analyzer (General Chemistry 13 Panel){Whole Blood}

- Abaxis Piccolo Point of Care Chemistry Analyzer (Liver Panel Plus Reagent Disc){whole blood}

- Abaxis Piccolo xpress Chemistry Analyzer {Liver Panel

Plus} (Whole Blood)

Arkay SPOTCHEM EZ Chemistry Analyzer (Spotchem II Basicpanel 1)

{Whole Blood}

Abaxis, Inc.	Quantitative measurement of alanine aminotransferase, albumin, alkaline

phosphatase, amylase, aspartate aminotransferase, calcium, creatinine, gamma glutamyltransferase, glucose, total bilirubin, total protein, urea nitrogen  and uric acid in whole blood

Abaxis, Inc.	Measures alanine aminotransferase, albumin, alkaline phosphatase, amylase, aspartate aminotransferase, gamma glutamyltransferase, total bilirubin and total protein levels in whole blood

Abaxis, Inc

Polymedco, Inc.	Measures albumin,  total calcium, creatinine, glucose and  total protein

levels in whole blood

82043QW	HemoCue Albumin 201 System	HemoCue, Inc.	Quantitative measurement of albumin in urine by immunoassay

83518QW	1.	Beckman Coulter ICON Microalb	Beckman Coulter, Inc.	Determination of low concentrations of albumin in urine by immunoassay,

which is helpful for early detection in patients at risk for developing renal disease

  - Boehringer Mannheim Chemstrip Micral

  - Diagnostic Chemicals ImmunoDip Urinary Albumin Test

Boehringer Mannheim

Diagnostic Chemicals Limited

83518QW (cont.)	4.	Diagnostic Chemicals

ImmunoDip Urinary Albumin Screen (Urine Dipstick)

- Genzyme Diagnostics OSOM ImmunoDip Urinary Albumin Test

- Roche Diagnostics Chemstrip Micral (urine dipstick)

82947QW	1.	Poylmer Technology Systems, Inc., CardioChek Home Test Systems (CardioChek Home Glucose test strips)

- Poylmer Technology Systems, Inc., CardioChek Home Test Systems (CardioChek Home eGLU test strips)

- Poylmer Technology Systems, Inc., CardioChek Plus Test Systems (PTS Panels Glucose test strips

- Poylmer Technology Systems, Inc., CardioChek Plus Test Systems (PTS Panels eGLU test strips)

Diagnostic Chemicals Limited (USA)

Genzyme Diagnositcs

Roche Diagnostics Corporation

Polymer Technology Systems, Inc.

Polymer Technology Systems, Inc.

Polymer Technology Systems, Inc.

Polymer Technology Systems, Inc.

Determination of low concentrations of albumin in urine by immunoassay, which is helpful for early detection in patients at risk for developing renal disease

Measures glucose in whole blood

82120QW,

83986QW

82247QW, 84075QW,

84155QW, 84450QW,

84460QW

Litmus Concepts FemExam TestCard (from vaginal swab)

Arkay SPOTCHEM EZ Chemistry Analyer (Spotchem II Basicpanel 2)

{Whole Blood}

Litmus Concepts, Inc.	Qualitative test of a vaginal fluid sample for elevated pH (pH greater than or equal to 4.7) and the presence of volatile amines

Polymedco, Inc.	Measures alanine aminotransferase, alkaline phosphatase, aspartate

aminotransferase, total bilirubin and  urea levels in whole blood

82271QW	1.	Aerscher Hemaprompt FG	Aerscher Diagnostics	Rapid screening test to detect the presence of gastric occult blood

2.	SmithKline Gastroccult	SmithKline

82271QW,

83986QW

Beckman Coulter Primary Care Diagnostics Gastrocult

Beckman Coulter, Inc.	Rapid screening test to detect the presence of gastric occult blood and

determine the pH (acid-base balance) of gastric aspirates

82274QW G0328QW

82374QW, 82435QW,

82550QW, 82565QW,

82947QW, 84132QW,

84295QW, 84520QW

82435QW, 82947QW,

82950QW, 82951QW,

82952QW, 84132QW,

84295QW, 84520QW,

85014QW

Colorectal cancer screening; fecal occult blood test, immunoassay, 1-3 simultaneous categorized as waived complexity. .  Refer to the FDA website http://www.accessdata.fda.gov/scripts/ cdrh/cfdocs/cfClia/analyteswaived.cfm for the currently waived test systems.

- Abaxis Piccolo Blood Chemistry Analyzer (Piccolo Metlyte 8 Panel Reagent Disc) {Whole Blood}

- Abaxis Piccolo xpress Chemistry Analyzer (Piccolo Metlyte 8 Panel Reagent Disc) {Whole Blood}

Abbott i-STAT 6+ Cartridge {Whole Blood}

Various	Detection of blood in feces from whatever cause, benign or malignant (colorectal cancer screening) by immunoassay

Abaxis, Inc.	Measures chloride, creatine kinase, creatinine, glucose, potassium, sodium,

total carbon dioxide and urea nitrogen (BUN) in whole blood

Abaxis, Inc

i-Stat Corporation	Measures chloride, glucose, potassium, sodium, urea nitrogen, and

hematocrit in whole blood

82465QW (Contact your Medicare carrier for claims instructions.)

- Advanced Care	Johnson & Johnson	Cholesterol monitoring

- Boehringer Mannheim Accu-Chek InstantPlus Cholesterol

Boehringer Mannheim

- ChemTrak AccuMeter	ChemTrak

- ENA.C.T Total Cholesterol Test	ActiMed Laboratories, Inc.

- ActiMed Laboratories ENA.C.T. Total Cholesterol Test (PDU)

- Lifestream Technologies Cholesterol Monitor

ActiMed Laboratories, Inc.

Lifestream Technologies, Inc.

82465QW (cont.)

(Contact your Medicare carrier for claims instructions.)

82465QW (Contact your Medicare carrier for claims instructions.),

83718QW

- Lifestream Technologies Personal Cholesterol Monitor

- Polymer Technology Systems (PTS) MTM Bioscanner 1000 (for OTC use) for cholesterol

- PTS Bioscanner Test Strips Chloesterol

- Polymer Technology Systems CardioChek Brand Analyzer (PTS Panels CHOL+HDL Panel Test Strips)

- Polymer Technology Systems CardioChek PA Analyzer (PTS Panels CHOL+HDL Panel Test Strips)

- Polymer Technology Systems Cardiochek PA Analyzer (PTS Panels CHOL+HDL Test Panel Test Strips)

- Polymer Technology Systems Cardiochek PA Analyzer (PTS Panels Chol + Glu Test Panel)

- Roche Diagnostics AccuChek Instant Plus Dual Testing System

Lifestream Technologies, Inc.

Polymer Technology Systems, Inc.

Polymer Technology Systems, Inc.

Polymer Technology Systems, Inc.

Polymer Technology Systems, Inc.

Polymer Technology Systems, Inc.

Polymer Technology Systems, Inc.

Cholesterol monitoring

Measures total cholesterol and HDL cholesterol in whole blood

82465QW (Contact your Medicare carrier for claims instructions.), 83718QW,

82947QW, 82950QW,

82951QW, 82952QW

- Polymer Technology Systems CardioChek Brand Analyzer (PTS Panels CHOL+HDL+GLUC Panel Test Strips)

Polymer Technology Systems, Inc.

Measures total cholesterol, HDL cholesterol, and glucose in whole blood

82465QW (Contact your Medicare carrier for claims instructions.), 83718QW,

82947QW, 82950QW,

82951QW, 82952QW

(cont.)

- Polymer Technology Systems CardioChek PA Analyzer (PTS Panels CHOL+HDL+GLUC Panel Test Strips)

Polymer Technology Systems, Inc.

Measures total cholesterol, HDL cholesterol, and glucose in whole blood

82465QW (Contact your Medicare carrier for claims instructions.), 82947QW, 82950QW,

82951QW, 82952QW,

83718QW,

84478QW,

80061QW

Cholestech LDX	Cholestech Corp.	Measures total cholesterol, glucose, HDL cholesterol, and triglycerides in

whole blood

82465QW (Contact your Medicare carrier for claims instructions.), 82947QW, 82950QW,

82951QW, 82952QW,

83036QW,

84478QW

Wako APOLOWAKO Analyzer (Whole Blood)

Wako Chemicals USA, Inc.	Measures total cholesterol, hemoglobin A1c, glucose, and triglycerides in

whole blood

82465QW(Contact your Medicare carrier for claims instructions.), 82947QW, 82950QW,

82951QW, 82952QW,

83718QW, 84478QW,

84450QW, 84460QW

Abaxis Piccolo xpress Chemistry Analyzer {Lipid Panel Plus Reagent Disc} (Whole Blood)}

Abaxis, Inc.	Measures cholesterol, HDL cholesterol, glucose, alanine aminotransferase,

aspartate aminotransferase, and triglycerides in whole blood

82523QW	Ostex International Osteomark NTX Point of Care Prescription Home Use

82565QW	Abbott i-STAT Crea Cartridge {Whole Blood}

82565QW, 84520QW	Abaxis Piccolo xpress Chemistry

Analyzer (Kidney Check Panel){Whole Blood}

Ostex International Inc.	Measures normalized cross-linked N-telopeptides of type 1 collagen in urine i-Stat Corporation	Quantitative measurement of creatinine in whole blood

Abaxis, Inc.	Quantitative measurement of creatinine and urea nitrogen in whole blood

82565QW, 82947QW,

82950QW, 82951QW,

82952QW,

82977QW, 84450QW,

84460QW, 84520QW

82679QW (This test may not be covered in all instances. Contact your Medicare carrier for claims instructions.),

83002QW

- Abaxis Piccolo Blood Chemistry Analyzer (General Chemistry 6 Panel){Whole Blood}

- Abaxis Piccolo xpress Chemistry Analyzer (General Chemistry 6 Panel){Whole Blood}

Clearplan Easy Fertility Monitor (for luteinizing hormone and estrone 3 glucuronide)

Abaxis, Inc.	Quantitative measurement of alanine aminotransferase, aspartate aminotransferase, creatinine, gamma glutamyltransferase, glucose and urea nitrogen in whole blood

Abaxis, Inc.

Unipath Limited	Detection of luteinizing hormone and estrone 3 glucuronide in urine to identify the optimal time for conception

82947QW, 82950QW,

82951QW, 82952QW

- HemoCue B-Glucose Photometer	HemoCue, Inc.	Measures glucose levels in whole blood

82947QW, 82950QW,

82951QW, 82952QW,

84132QW, 84295QW,

85014QW

- HemoCue Glucose 201 Microcuvettes and Glucose 201 Analyzer

- Abbott i-STAT G Cartridge

{Whole Blood}

Abbott i-STAT EC4+ Cartridge

{Whole Blood}

HemoCue, Inc.

i-Stat Corporation

i-Stat Corporation	Measures glucose, potassium, sodium, and hematocrit in whole blood

82985QW	LXN Fructosamine Test System	LXN Corporation	Used to evaluate diabetic control, reflecting diabetic control over a 2-3 week

period (Not a useful test for screening diabetes mellitus)

82962,

82465QW(Contact your Medicare carrier for claims instructions.)

Roche Diagnostics Accutrend Plus System {fingerstick whole blood}

Roche Diagnostics	Monitoring of blood glucose levels and cholesterol

82962,

82985QW

- LXN Duet Glucose Control Monitoring System

LXN Corporation	Monitoring of blood glucose levels and measures fructosamine, which is

used to evaluate diabetic control, reflecting diabetic control over a 2-3 week period

- LXN IN CHARGE Diabetes Control System

LXN Corporation

83001QW	1.	Acon Laboratories, Inc. FSH Menopause Predictor Test

- Acon Laboratories, Inc. FSH One Step Menopause Test Device

{Professional Use}

- Acon Laboratories, Inc. FSH One Step Menopause Test Strip

{Professional Use}

- Applied Biotech, Inc. RU25 Plus FSH Menopause Test

- Biotechnostix, Inc. Rapid Response FSH One Step Menopause Test Device

- Genosis Fertell Female Fertility Test

ACON Laboratories, Inc.	Detects follicle stimulating hormone in urine ACON Laboratories, Inc.

ACON Laboratories, Inc.

Applied Biotech, Inc. ACON Laboratories, Inc.

Genosis, Inc.

- Genua Menopause Monitor Test	Genua 1944 Inc

- Synova Healthcare MenocheckPro (Professional Use)

83036QW	1.	Axis-Shield Afinion AS100 Analyzer

- Alere Technologies AS, Alere Afinion AS101 Analyzer

Applied Biotech, Inc.

Axis-Shield Poc	Measures the percent concentration of hemoglobin A1c in blood, which is

used in monitoring the long-term care of people with diabetes

Axis-Shield Poc

- Bayer AICNow+ Professional Use	Bayer Healthcare, LLC

- Siemens Medical Diagnostics DCA Vantage Analyzer

Siemens Healthcare Diagnostics, Inc.

83036QW (cont.)	5.	PTS Diagnostics A1CNow +

Professional Use

Polymer Technology Systems, Inc.

Measures the percent concentration of hemoglobin A1c in blood, which is used in monitoring the long-term care of people with diabetes

- Siemens DCA 2000 Analyzer	Siemens Healthcare

Diagnostics, Inc.

- Siemens DCA 2000+ Analyzer	Siemens Healthcare

Diagnostics, Inc

83037QW	1.	Bayer A1CNow+ {For professional use}

Bayer Corp.	Measures the percent concentration of hemoglobin A1c in blood, which is

used in monitoring the long-term care of people with diabetes using devices cleared by the FDA for home use

- Bayer A1C Now SelfCheck	Bayer Healthcare, Llc.

- BIO-RAD in2it (II) System Analyzer Prescription Home Use

- Bio-Rad Micromat II Hemoglobin A1c Prescription Home Use Test

- Cholestech GDX A1C Test (Prescription Home Use)

- Provalis Diagnostics Glycosal HbA1c Test

- Provalis Diagnostics In2it In- Office Analyzer (II) Prescription Home Use Test System

83516QW	Rapid Pathogen Screening, Inc.

InflammaDry

Bio-Rad Laboratories, Inc. Bio-Rad Laboratories, Inc. Cholestech Corporation Provalis Diagnostics Ltd. Provalis Diagnostics Ltd

Rapid Pathogen Screening, Inc.

Detection of elevated levels of the MMP-9 protein in human tears, from patients suspected of having dry eye.

83605QW	KDK Corporation Lactate Pro System	KDK Corporation	Quantitative measurement of lactate in whole blood

83655QW	ESA Biosciences LeadCare II Blood Lead Testing System (whole blood)

ESA Biosciences, Inc.	Quantitative measurement of blood lead in whole blood

83718QW,

84478QW,

82947QW, 82950QW,

82951QW, 82952QW

Polymer Technology Systems CardioChek PA Analyzer (PTS Panels Metabolic Chemistry Panel Test Strips)

Polymer Technology Systems, Inc.

Measures HDL cholesterol, triglycerides, and glucose in whole blood

83721QW	Polymer Technology Systems Cardiochek PA Analyzer

Polymer Technology Systems, Inc.

Measures LDL cholesterol in whole blood

83861QW	TearLab Corporation TearLab Osmolarity System

83880QW	1.	Biosite Triage Meter {Whole Blood}

2.	Biosite Triage Meter Plus {Whole Blood}

83986QW	All qualitative color comparison pH testing - body fluids (other than blood)

TearLab Corporation	Impedance measurement of tear fluid to provide an indirect assessment of

osmolarity.

Biosite Incorporated	Quantitative measurement of B-type natriuretic peptide (BNP)

Various	pH detection (acid-base balance) in body fluids such as semen, amniotic fluid, and gastric aspirates

| 83986QW | 1. | Dale Medical Products, Inc. RightLevel pH | EZ-NG, LLC. | Gastric pH detection (acid-base balance) |
| --- | --- | --- | --- | --- |
|  | 2. | Dale Medical Products, Inc. RightSpot pH | EZ-NG, LLC. |  |
|  | 3. | RightBio Metrics, RightSpot Infant pH Indicator | Right BioMetrics |  |
|  | 4. | RightBio Metrics, RightSpot pH Detector | Right BioMetrics |  |
|  | 5. | RightBio Metrics, RightSpot pH Indicator | Right BioMetrics |  |
| 83986QW | 1. | FemTek pHEM-ALERT | FemTek, LLC | Vaginal pH detection (acid-base balance) |
|  | 2. | Common Sense Ltd. Norma-Sense Vaginal Discharge pH Test | Common Sense Ltd. |  |
|  | 3. | Common Sense Ltd. VA-Sense Kit | Common Sense, Ltd. |  |
|  | 4. | Common Sense Ltd. VS-Sense Test {qualitative} | Common Sense, Ltd |  |
|  | 5. | Lil’ Drug Store Products Inc. Vagi-Screen Vaginal Health Test | Lil’ Drug Store Products Inc. |  |
|  | 6. | Teco Diagnostics OBGYN-VpH Vaginal pH Screening Kit | Teco Diagnositcs |  |

84295QW, 84132QW,

85014QW

Abbott i-STAT E3+ Cartridge {Whole Blood}

i-Stat Corporation	Measures potassium, sodium, and hematocrit in whole blood

84443QW	1.	Aventir Biotech LLC, Forsure TSH Test {Whole Blood}

- BTNX, Rapid Response Thyroid Stimulating Hormone (TSH) Test Cassette

- BTNX, Inc Rapid Response Thyroid Stimulating Hormone (TSH) Test Cassette

- CLIAwaived Inc. Thyroid Test Rapid TSH Cassette {Whole Blood}

- Germaine Laboratories, Inc. AimStep Thyroid Screen {whole blood}

- ThyroTec, Inc. ThyroTest Whole Blood TSH Test

- Jant Pharmacal Accutest TSH

{Whole Blood}

- Qualigen, Inc. FastChek TSH

{Whole blood}

Screening Devices Canada Inc.

Screening Devices Canada Inc.

Screening Devices Canada Inc.

Screening Devices Canada Inc.

Screening Devices Canada Inc.

ThyroTec, Inc.

Screening Devices Canada Inc.

Screening Devices Canada Inc.

Qualitative determination of human thyroid stimulating hormone (TSH) in whole blood, which is a rapid TSH assay for hypothyroidism screening in adults

84450QW, 84520QW	Arkray SPOTCHEM EZ Chemistry

Analyzer{whole blood}

84450QW	Cholestech LDX Aspartate Aminotransferase (AST)(SGOT)

84460QW	Cholestech LDX Alanine Aminotransferase (ALT) Test

84703QW	Bayer Clinitek 50 Urine Chemistry Analyzer - for HCG, urine

Arkray, Inc.	Quantitative determination of blood urea nitrogen (BUN) and aspartate

aminotransferase in whole blood

Cholestech Corporation	Quantitative determination of aspartate aminotransferase in whole blood Cholestech Corporation	Quantitative determination of alanine aminotransferase in whole blood Bayer Corp.	Diagnosis of pregnancy

85014QW	Wampole STAT-CRIT Hct	Wampole Laboratories	Screen for anemia

85018QW	1.	AimStrip Hb Hemoglobin (Hb) Testing System

Acon Laboratories, Inc.	Measures hemoglobin level in whole blood

2.	Alere HemoPoint H2 System	Stanbio Laboratory

85018QW (cont.)	3.	Biosafe Laboratories, Inc.,

Anemiapro Self Screener

- Clarity HbCheck Hemoglobin Testing System

- HemoCue Donor Hemoglobin Checker System HemoCue

Biosafe Laboratories, Inc.	Measures hemoglobin level in whole blood Acon Laboratories, Inc.

HemoCue, Inc.

- HemoCue Hemoglobin System	HemoCue, Inc.

- HemoCue Hemoglobin 201+ (Capillary, Venous, Arterial Whole Blood)

- HemoCue Hemoglobin 201+/HemoCue Hemoglobin Microcuvette System

HemoCue, Inc.

HemoCue, Inc.

- HemoCue Hb 301 System	HemoCue, Inc.

- GDS Diagnostics HemoSite Meter

- for hemoglobin

- GDS Technology STAT-Site MHgb Test System

GDS Technology, Inc. GDS Technology

85576QW	Accumetrics VerifyNow Aspirin Assay	Accumetrics Inc.	Qualitative assay to measure platelet aggregation

85610QW (Contact your Medicare carrier for claims instructions.)

- AlereINRatio®2 PT/INR Home Monitoring System {Prescription Home Use}

- AvoSure PT System (prescription home use)

Alere San Diego, Inc.	Aid in screening for congenital deficiencies of Factors II, V, VII, X; screen

for deficiency of prothrombin; evaluate heparin effect, coumadin or warfarin effect; screen for Vitamin K deficiency

Avocet Medical, Inc.

- AvoSure Pro (professional use)	Avocet Medical, Inc.

- CoaguChek PST for Prothrombin Time

- Coag-Sense Prothrombin Time (PT/INR) Monitoring system (Professional use)

Boehringer Mannheim Corporation

CoaguSense, Inc.

85610QW(cont.)

(Contact your Medicare carrier for claims instructions.)

- CoaguSense Self-Test Prothrombin Time/INR Monitoring System (Prescription Home Use)

CoaguSense, Inc.	Aid in screening for congenital deficiencies of Factors II, V, VII, X; screen

for deficiency of prothrombin; evaluate heparin effect, coumadin or warfarin effect; screen for Vitamin K deficiency

- HemoSense INRatio System	HemoSense, Inc.

- ITC Protime Microcoagulation System for Prothrombin Time

- International Technidyne ProTime Microcoagulation System (ProTime 3 Cuvette) Prescription Home Use

- International Technidyne ProTime Microcoagulation System (ProTime 3 Cuvette) Professional Use

- Lifescan Harmony INR Monitoring System -- Prescription Home Use and Professional Use

- Roche/Boehringer Mannheim CoaguChek System for Professional Use

- Roche Diagnostics Coaguchek PST

- Roche Diagnostics Coagu Chek S Systems Test (for prothrombin time)

International Technidyne Corporation (ITC)

International Technidyne Corporation

International Technidyne Corporation

Lifescan, Inc.

Roche Diagnostics/ Boehringer Mannheim Corporation

Roche Diagnostics Roche Diagnostics

- Roche Diagnostics CoaguChek XS	Roche Diagnostics

- Roche Diagnostics CoaguChek XS Plus System

86294QW	1.	Bion Diagnostic Sciences BTA stat Test (for home use)

Roche Diagnostics

Bion Diagnostic Sciences, Inc.

Immunoassay for the qualitative detection of bladder tumor associated antigen in urine of persons diagnosed with bladder cancer, and used as an aid in the management of bladder cancer patients

2.	LifeSign Status BTA	Polymedco, Inc.

86308QW	Screening test for mononucleosis (mono) categorized as waived complexity. Refer to the FDA website http://www.accessdata.fda.gov/scripts/ cdrh/cfdocs/cfClia/analyteswaived.cfm for the currently waived test systems.

86318QW	Immunoassay for Helicobacter pylori antibodies, single step method, categorized as waived complexity.

Refer to the FDA website http://www.accessdata.fda.gov/scripts/ cdrh/cfdocs/cfClia/analyteswaived.cfm for the currently waived test systems.

86386QW	1.	Alere NMP22 BladderChek Test (Prescription Home Use) and (Professional Use)

2.	Matritech, Inc. NMP22 BladderCheck Test for Professional and Prescription Home Use

86618QW	Wampole PreVue B. burgdorferi

Antibody Detection Assay

Various	Qualitative screening test for the presence of heterophile antibodies in human whole blood, which is used as an aid in the diagnosis of infectious mononucleosis

Various	Immunoassay for rapid, qualitative detection of IgG antibodies specific to

Helicobacter pylori in whole blood

Alere	Immunoassay for the qualitative detection of  nuclear matrix protein NMP22 in urine for use as an aid in monitoring bladder cancer patients

Maritech, Inc.

Wampole Laboratories	Qualitative detection of IgG/IgM antibodies to Borrelia burgdorferi

(causative agent of Lyme disease) in whole blood

86701QW	1.	bioLytical INSTI HIV-1 Antibody Test {Fingerstick Whole Blood}

2.	OraSure Technologies OraQuick Rapid HIV-1 Antibody Test

86701QW (cont.)	3.	OraSure OraQuick Rapid HIV-1

Antibody Test – fingerstick and venipuncture whole blood

4.	Trinity Biotech Uni-Gold Recombigen HIV Test (Fingerstick, Venipuncture Whole Blood)

BioLytical Laboratories, Inc.	Qualitative immunoassay to detect antibodies to Human Immunodeficiency

Virus Type 1 (HIV-1)

OraSure Technologies, Inc

OraSure Technologies, Inc.	Qualitative immunoassay to detect antibodies to Human Immunodeficiency

Virus Type 1 (HIV-1)

Trinity Biotech

86780QW	Diagnostics Direct LLC Syphilis Health Check {FingerStick Whole Blood}

G0433QW	1.	OraSure OraQuick Advance Rapid HIV-1/2 Antibody Test {oral fluid, fingerstick whole blood and venipuncture whole blood}

- OraSure Technologies OraQuick In-Home HIV Test {Oral Fluid}

- Chembio Diagnostic Systems, Inc, DPP HIV 1/2 Assay {Oral Fluid}

- Clearview Complete HIV 1/2

{Fingerstick Venipuncture, whole blood}

Diagnostics Direct LLC	Immunochromatographic assay for the detection of Treponema pallidum

(syphilis) antibodies in whole blood

OraSure Technologies, Inc.	Qualitative immunoassay to detect antibodies to Human Immunodeficiency

Virus Type 1 (HIV-1) and Type 2 (HIV-2) in fingerstick whole blood , venipuncture whole blood and/or oral fluid specimens

OraSure Technologies, Inc.

Chembio Diagnostic Systems, Inc.

Chembio Diagnostic Systems, Inc.

86803QW, G0472QW

OraQuick HCV Rapid Antibody Test and OraQuick Visual Reference Panel

Orasure Technologies Inc.	Qualitative immunoassay to detect antibodies to hepatitis C virus in

fingerstick whole blood and venipuncture whole blood specimens

87077QW	1.	Ballard Medical Products CLOtest	Ballard Medical Products	Presumptive identification of Helicobacter pylori in gastric biopsy tissue,

which has been shown to cause chronic active gastritis (ulcers)

- Delta West CLOtest	Delta West

Tri-Med Specialties

- GI Supply HP-FAST	Mycoscience Labs, Inc.

- GI Supply, Div. Chek-Med Systems HP One

- Jant Accutest Rapid Urease test (H. pylori detection)

- Medical Instruments Corporation Pronto Dry H. pylori

GI Supply

ARJ Medical, Inc.

Medical Instruments Corporation

- Serim Pyloritek Test Kit	Serim

87210QW	1.	Stesans Maybe?Mom Mini Ovulation Microscope

2.	O2 Unlimited Donna Ovulation Tester

LEC Associates	Detects ferning pattern in saliva which is used in the determination of

ovulation (optimal for conception)

O2 Unlimited Corp.

87338QW	Meridian Bioscience Immunocard STAT! HpSA (Stool)

Meridian Bioscience, Inc.	Immunoassay for rapid, qualitative detection of Helicobacter pylori antigens in stool

87389QW[from December 5, 2014 to

December 31, 2014], 87806QW [on and after January 1, 2015]

Orgenics, Alere Determine HIV-1/2 Ag/Ab Combo {fingerstick Whole Blood}

Detects antigen to HIV-1, and antibodies to HIV-1 and HIV-2 in whole blood

87449QW	ZymeTx Zstatflu Test	Zymetx, Inc.	Qualitative determination of influenza types A and B from throat swab

specimens that does not differentiate between types A and B

87502QW	1.	Alere i Influenza A & B Test

{Direct Nasal swab only}

2.	RocheMolecular, cobas Liat System (cobas Liat Influenza A/B Assay)

87631QW	1.	Cepheid Gene Xpert Xpress System (Xpert Flu+RSV Xpress)

2.	Roche Molecular, cobas Liat System cobas Liat Influenza A/B & RSV Assay

87633QW	BioFire Diagnostics, FilmArray 2.0 EZ Configuration Instrument (Viral and Bacterial Nucleic Acids){Nasopharyngeal Swabs}*

Alere Scarborough, Inc.	Differential and qualitative detection of Influenza A and Influenza B viral

nucleic acids using isothermal nucleic acid amplification technology

IQuum, Inc.	Real-time RT-PCR assay for detection and discrimination of Influenza A

and Influenza B in nasopharyngeal swab specimens

Cepheid	Detection of influenza A, influenza B and respiratory syncytial virus viral RNA by reverse transcriptase polymerase chain reaction assay

IQUUM, INC.

BioFire Diagnostics, LLC	Multiplexed nucleic acid test for detection and identification of multiple

respiratory pathogen nucleic acids in nasopharyngeal swabs

87651QW	1.	Alere i Instrument	Alere Scarborough, Inc.	Detection of Group A Strep bacterial nucleic acids utilizing isothermal

nucleic acid amplification technology

2.	Roche Molecular, cobas Liat System

IQuum, Inc.	Detection of Streptococcus group A utilizing nucleic acid purification and

polymerase chain reaction (PCR) technology (automation and integration of sample purification, nucleic acid amplification, and detection of the target sequence using real-time PCR) to detect Streptococcus pyogenes

87804QW	Quidel QuickVue® Influenza Test	Quidel Corporation	Qualitative detection of influenza type A and type B antigens from nasal

swab, nasal wash or nasal aspirate specimens that does not differentiate between influenza types A and B

87804QW	1.	Alere Influenza A & B Test (For use with nasal Swabs only.)

Alere Scarborough, Inc.	Qualitative detection of influenza type A and type B antigens from nasal

swab, nasopharyngeal (NP) swab, nasal wash, nasal aspirate or nasal specimens that does differentiate between influenza types A and B

- Alere BinaxNow Influenza A & B Card {Nasopharyngeal (Np) Swab and Nasal Wash/Aspirate Specimens}

- BD Veritor System for Rapid Detection of Flu A+B (For use with nasal and nasopharyngeal swabs) {Includes a Reader}

- BinaxNow Influenza A & B Test, K092223

- BinaxNOW® Influenza A & B Test in nasopharyngeal (NP) swab and nasal wash/aspirate specimens, K041049

- BinaxNOW Influenza A & B Test

{Nasopharyngeal (Np) Swab and Nasal Wash/Aspirate Specimens}, K053126

- BinaxNOW Influenza A & B Test

{Nasopharyngeal (Np) Swab and Nasal Wash/Aspirate Specimens and Nasal Specimens (NS)}

- BioSignFlu A+B {Nasal and nasopharyngeal swabs}*

- Henry Schein OneStep+ Influenza A&B Test

Alere Scarborough, Inc.

Becton, Dickinson and Company

Binax, Inc Binax, Inc.

Binax, Inc.

Binax, Inc.

Princeton Biomeditech Corporation

Alere Scarborough, Inc.

- LifeSign LLC, Status Flu A+B*	Princeton Biomeditech

Corporation

- OraSure QuickFlu Rapid A+B Test {Nasal and Nasopharyngeal Swabs}*

Princeton Biomeditech Corporation

87804QW (cont.)	12.  Quidel Quickvue Influenza A+B

Test

Quidel Corporation	Qualitative detection of influenza type A and type B antigens from nasal

swab, nasopharyngeal (NP) swab, nasal wash, nasal aspirate or nasal specimens that does differentiate between influenza types A and B

- Sekisui Diagnostice LLC, OSOM Ultra Flu A+B Test*

- Sofia Analyzer and Influenza A+B FIA

- Sofia Analyzer and Influenza A+B FIA (for user with nasal swabs and nasopharyngeal swabs)

Princeton Biomeditech Corporation

Quidel Corporation Quidel Corporation

87804QW	1.	Binax Now Flu A Test	Binax, Inc.	Qualitative detection of influenza type A antigen in nasopharyngeal

specimens

- BTNX, Inc. Rapid Response Influenza A Test Cassette

SA Scientific, Inc.

- EarlyDetect Pro Influenza A Test	SA Scientific, Inc.

- SA Scientific SAS Influenza A Test

SA Scientific, Inc.

87804QW	1.	Binax Now Flu B Test	Binax, Inc.	Qualitative detection of influenza type B antigen in nasopharyngeal

specimens

- BTNX, Inc. Rapid Response Influenza BTest Cassette

SA Scientific, Inc.

- EarlyDetect Pro Influenza B Test	SA Scientific, Inc.

- SA Scientific SAS Influenza B Test

SA Scientific, Inc.

87807QW	1.	Alere BinaxNOW RSV Card	Alere Scarborough, Inc.	Rapid immunoassay for the qualitative detection of respiratory syncytial

virus antigen

- BD Veritor System for Rapid Detection of RSV (For use with nasopharyngeal specimens){Includes a reader}

Becton, Dickinson and Company

- Binax NOW RSV Test (K021687)	Binax, Inc.

87807QW (cont.)	4.	Binax NOW RSV Test

(K032166/A005)

- Fisher Scientific Sure-Vue RSV Test

- Integrated Biotechnology Quick Lab RSV Test

Binax, Inc.	Rapid immunoassay for the qualitative detection of respiratory syncytial virus antigen

SA Scientific, Inc.

Integrated Biotechnology Corp.

- Quidel Quick Vue RSV Test	Quidel Corporation

- SA Scientific SAS RSV Alert	SA Scientific, Inc.

- Sofia RSV	Quidel Corp.

87808QW	1.	Genzyme OSOM Trichomonas Rapid Test

87808QW (cont.)	2.	Sekisui Diagnostics, LLC OSOM

Trichomonas Rapid Test

87809QW	1.	Rapid Pathogen Screening RPS Adeno Detector

Genzyme Corp.	Immunoassay for the qualitative detection of Trichomonas vaginalis

antigens from vaginal swabs

Genzyme Corp.

Rapid Pathogen Screening	Immunochromatographic test for the qualitative detection of adenoviral

antigens from eye fluid

2.	AdenoPlus (human eye fluid)	Rapid Pathogen Screening,

Inc.

87880QW	Streptococcus group A antigen detection by immunoassay with direct optical observation categorized as waived complexity. Refer to the FDA website http://www.accessdata.fda.gov/scripts/ cdrh/cfdocs/cfClia/analyteswaived.cfm for the currently waived test systems.

Various	Rapidly detects GAS antigen from throat swabs and used as an aid in the diagnosis of GAS infection, which typically causes strep throat, tonsillitis, and scarlet fever

87905QW	Gryphus Diagnostics BVBlue	Gryphus Diagnositcs, LLC	Enzyme activity test for the detection of sialidase activity in vaginal fluid

specimens, an enzyme produced by bacterial pathogens such as Gardnerella vaginais, Bacteroides spp., Prevotella spp., and Mobiluncus spp.

87899QW	Meridian Bioscience Immunocard STAT! HpSA {Stool}

Meridian Bioscience, Inc.	Immunoassay for the qualitative detection of  Helicobacter pylori antigens

in stool specimens

89300QW(This test may not be covered in all instances. Contact your Medicare carrier for claims instructions)

- Embryotech Laboratories FertilMARQ Home Diagnostic Screening Test for Male Infertility

Embryotech Laboratories, Inc.

Screening test to measure sperm concentration

- SpermCheck Vasectomy	Princeton BioMeditech Corp.	Detects sperm in semen following a vasectomy

89321QW	Fertell Male Fertility Test	Genosis Ltd.	Determines whether the concentration of motile sperm is above a cut-off

level of 10 million motile sperm cells per ml