9.     Storage of Disposable Equipment Policy

Disposable equipment supplies are kept in the room that relates to their usage.

Disposable equipment is used whenever possible.

Unused supplies should remain in the original box/wrapping with appropriate labeling until time of use. If seal is broken, do not use and discard appropriately per disposal guidelines.

All disposable equipment to follow proper storage regarding light, temperature and expiration dates.

Report low level supplies to supply officer so that it can be reordered and stocked in a timely manner.