1.  Vaccine Storage and Handling Policy and Procedure

This policy is written to ensure the office follows all recommended regulations as outlined in the Vaccine Storage & Handling Toolkit published by CDC U.S. Department of Health and Human Services, June 2016. The link to the official CDC Toolkit is provided below:

https://www.cdc.gov/vaccines/hcp/admin/storage/toolkit/

Designated primary vaccine coordinator is the Medical Administrative Assistant in the practice.

Designated primary vaccine coordinator will be in charge of ordering, unpacking, storing vaccines received in the office.

The alternative vaccine coordinator is the physician in the practice; when the primary vaccine coordinator is unavailable the alternative vaccine coordinator will assume the duties listed above.

Both primary and alternative vaccine coordinator(s) will review the CDC’s Vaccine Storage and Handling Toolkit annually and also with any change in the designated or alternative vaccine coordinator position.  Date of review and names of employees completing review will be documented.

This office will have a stand-alone designated vaccine storage refrigerator and a stand-alone designated vaccine storage freezer meeting the CDC’s recommended temperature requirements for refrigerators (between 36 F and 46 F/ 2 C and 8 C) and freezers ( between -58 F and +5 F/ -50 C and -15 C) used for vaccine storage.

The office will use a DDL for continuous monitoring which provides:

- 24/7 Monitoring & Alerts

- Data-Logger + Unlimited History

- Web-Based, Access Remotely

The office will maintain a Certificate of Calibration Testing (Report of Calibration) for the DDL meeting the recommended criteria by the CDC outlined in the toolkit.

Vaccines stored in freezer will be clearly listed on the freezer unit to include: VZV, MMR, HZV

Vaccines stored in refrigerator will be clearly listed on the refrigerator unit to include: MMR (unconstituted), Hep A, Hep B, Hep A-Hep B, Hib, Hib-Hep B, HPV (2v, 4v, 9v), Influenza (LAIV, IIV, RIV), Meningococcal (Hib-MenCY, Men ACWY-D, Men ACWY-CRM, MPSV4, Men B-4C, Men B-FHbp), Pneumococcal (PCV 13, PPSV 23), Diptheria toxoid, Tetanus Toxoid and Pertussis (DT, DTaP, DTaP-Hep B-IPV, DTaP-IPV, DTaP-IPV/Hib, Tdap, Td, TT).

Each vaccine and its diluent will be stored in a well labeled area inside the refrigerator/freezer.  The labels will appear on the shelves and include the designation “pediatric” or “adult.”  Vaccine and their corresponding diluents will be stored next to each other.

The power cord will be clearly marked “DO NOT UNPLUG” and plugged into its own power outlet.

The office will follow the recommendations of the CDC for emergency transport of vaccines if needed, eg. in case of power failure located pages 46-49.

ttps://www.cdc.gov/vaccines/hcp/admin/storage/toolkit/storage-handling-toolkit.pdf

All information related to Vaccine Handling and Storage is located in the following toolkit from the CDC linked above.  This includes all forms required for recording necessary vaccine information relating to this policy.

The office will use the checklist located in the CDC toolkit linked above for an audit prior to annual training for all employees, including newly hired, regarding vaccine handling and storage using the CDC’s toolkit.

When preparing for vaccine administration vaccines will be prepared only when the staff is ready to administer them.  Administered vaccines are only to be administered by the staff that prepared them.  The expiration date on both vaccine and diluents will be checked with every vaccine administration.

A single-dose vial (SDV) will be used ONE time for ONE patient.

A multi-dose vial (MDV) can be used until MAXIMUM number of doses have been withdrawn from the vial.  If there is residual, the vial should be discarded at that point.  An MDV can be used until the expiration date on the vial unless vaccine contaminated/compromised in some way or if there is a beyond use date (BUD) on the package insert.

A manufacturer-filled syringe (MFS) will not be activated until ready to use due to lack of preservative.

Diluents are only to be used with their corresponding vaccines-THEY ARE NOT INTERCHANGABLE UNLESS SPECIFIED BY THE MANUFACTURER (eg.,  MMR, Varicella, Zoster, MMRV).

Reconstituted vaccines are to be drawn up when ready to administer.  If not used within 30 minutes of being reconstituted, time limits and storage conditions will be followed per manufacturer guidelines.